Name:  _____________________________ (please print)

Signature: __________________________

DO NOT OPEN THIS BOOKLET UNTIL INSTRUCTED TO DO SO

## ECE 2300 – FINAL EXAM – July 12, 2003

1.  This exam is closed book, closed notes.  You may use one 8.5” x 11” crib sheet, or its equivalent.  You may use any calculator.  You may use your copy of Quiz 6.  Turn all cell phones or other communications devices off.

2.  Show all work on these pages.  Show all work necessary to complete the problem.  If you go on to another page, indicate clearly where your work can be found.  A solution without the appropriate work shown will receive no credit.  Clearly indicate your answer (for example, by enclosing it in a box).

3.  Show all units in solutions, intermediate results, and figures.  Units in the exam will be included between square brackets.  Use appropriate notation for all quantities.

4.  Do not use red ink.  Do not use red pencil.

5.  You will have 180 minutes to work on this exam.

1.  ________________/10

2.  ________________/15

3.  ________________/20

4.  ________________/30

5.  ________________/15

6.  ________________/20

Total = 110

Room for extra work

1)  {10 Points}  A device is connected to a circuit, as shown in Figure 1.  The current, iX, in this case is plotted in Figure 2, and the voltage, vX, is plotted in 
Figure 3.  Find the energy absorbed by the device in the time period from 0 to 12[s].

Room for extra work

2)  {15 Points}  A multi-range voltmeter is shown below.  The meter has full scale voltages of 50[V], 100[V], and 200[V].

A resistor, RX, is connected between the 100[V] terminal and the Common terminal, so that the voltmeter could be used to measure unknown voltages up to 750[V] by attaching the unknown voltage between the 200[V] and the Common terminals.

- Find the numerical value of this resistor, RX.

- Find the power rating that this resistor, RX, should have.

Room for extra work

3)  {20 Points}  Use the Node-Voltage Method to write a complete set of independent equations that could be used to solve this circuit.  Do not attempt to redraw or simplify the circuit.  Do not attempt to solve the equations.

Room for extra work

4)  {30 Points}  For the circuit shown, switch SW1 was closed and switch SW2 was in position  a  for a long time before t = 0.

At t = 0, switch SW1 opened.  Then, two seconds later, switch SW2 moved to position  b  and remained there.

- Find a numerical value for the Thevenin resistance seen by the 2.2[F] capacitor, for 0 < t < 2[s].

- Find numerical expressions for iQ(t) for t > 0

- Find the energy stored in the 6.8[F] capacitor at t = 4[s].

- Find vR(4[s]).

Room for extra work

5)  {15 Points}  The circuit shown operates in steady-state.  Find the numerical expression for the current iQ(t).

Room for extra work

6)  {20 Points}  The circuit shown operates in steady state.

The line can be modeled by a capacitor, CLINE, in series with a resistor, RLINE.  The reactive power absorbed by the line is -90[VAR].  The average power absorbed by the line is unknown.

The complex power absorbed by the load is [VA].

- Redraw the circuit in the phasor domain.

- Find the numerical value of RLINE.  Assume that this resistance is positive.

- Find the numerical value of iLINE(t).

1)  {10 Points}  A device is connected to a circuit, as shown in Figure 1.  The current, iX, in this case is plotted in Figure 2, and the voltage, vX, is plotted in 
Figure 3.  Find the energy absorbed by the device in the time period from 0 to 12[s].

2)  {15 Points}  A multi-range voltmeter is shown below.  The meter has full scale voltages of 50[V], 100[V], and 200[V].

A resistor, RX, is connected between the 100[V] terminal and the Common terminal, so that the voltmeter could be used to measure unknown voltages up to 750[V] by attaching the unknown voltage between the 200[V] and the Common terminals.

- Find the numerical value of this resistor, RX.

- Find the power rating that this resistor, RX, should have.

3)  {20 Points}  Use the Node-Voltage Method to write a complete set of independent equations that could be used to solve this circuit.  Do not attempt to redraw or simplify the circuit.  Do not attempt to solve the equations.

4)  {30 Points}  For the circuit shown, switch SW1 was closed and switch SW2 was in position  a  for a long time before t = 0.

At t = 0, switch SW1 opened.  Then, two seconds later, switch SW2 moved to position  b  and remained there.

- Find a numerical value for the Thevenin resistance seen by the 2.2[F] capacitor, for 0 < t < 2[s].

- Find numerical expressions for iQ(t) for t > 0

- Find the energy stored in the 6.8[F] capacitor at t = 4[s].

- Find vR(4[s]).

5)  {15 Points}  The circuit shown operates in steady-state.  Find the numerical expression for the current iQ(t).

6)  {20 Points}  The circuit shown operates in steady state.

The line can be modeled by a capacitor, CLINE, in series with a resistor, RLINE.  The reactive power absorbed by the line is -90[VAR].  The average power absorbed by the line is unknown.

The complex power absorbed by the load is [VA].

- Redraw the circuit in the phasor domain.

- Find the numerical value of RLINE.  Assume that this resistance is positive.

- Find the numerical value of iLINE(t).