Name:  _____________________________ (please print)

Signature: __________________________

ECE 2300 -- Quiz #2A

8:30AM section – February 19, 2002

Keep this quiz closed and face up until you are told to begin.

1.  This quiz is closed book, closed notes.  You may use one 8.5” x 11” crib sheet, or its equivalent.

2.  Show all work on these pages.  Show all work necessary to complete the problem.  If you go on to another page, indicate clearly where your work can be found.  A solution without the appropriate work shown will receive no credit.

3.  Show all units in solutions, intermediate results, and figures.  Units in the quiz will be included between square brackets.

4.  Do not use red ink.  Do not use red pencil.

5.  You will have 25 minutes to work on this quiz.

________________/20

Room for extra work

- A voltmeter called Voltmeter X is used to make a multirange voltmeter, as shown in Figure 1.  Voltmeter X reads 1[V] full-scale, and has a meter resistance of 100[].  Find the values of R1 and R2.

- Assume that the multirange voltmeter shown in Figure 1 is connected to the circuit in Figure 2.  The connections are made from terminal c to terminal c, terminal d to terminal d, and terminal e to terminal e.  Find the reading on the 50[V] scale of the multirange voltmeter.

ECE 2300 -- Quiz #2 – 8:30AM section – February 19, 2002 – Solution

- A voltmeter called Voltmeter X is used to make a multirange voltmeter, as shown in Figure 1.  Voltmeter X reads 1[V] full-scale, and has a meter resistance of 100[].  Find the values of R1 and R2.

- Assume that the multirange voltmeter shown in Figure 1 is connected to the circuit in Figure 2.  The connections are made from terminal c to terminal c, terminal d to terminal d, and terminal e to terminal e.  Find the reading on the 50[V] scale of the multirange voltmeter.

a) To find the value of R2, we can take the voltage divider rule that applies at full scale, that is, that

Solving this for R2, we have

Then, we can do a similar thing to find R1.  Again we use a voltage divider rule, and this time we will use the voltage across the R1 resistor, which must be the difference between 50[V] and 10[V], or

Solving this for R1, we get

b) To solve the second part, we need to redraw the circuit, making the connections specified.  We do that here.

Now, we want to find iX, since that will be the key to finding the reading of the meter.  Note that R2 and RM are in series, and that the series combination is in parallel with the 7[k] resistor.  Further, if we look at the common node, we will see that the current feeding the parallel combination is 3[mA].  Thus, we can write a current divider rule, as

Next we recognize that the full scale current through the voltmeter X, is

Using that value, we can set up a proportionality, which will be

This can be solved the reading on the 50[V] scale, or vREADING.  We get

Name:  _____________________________ (please print)

Signature: __________________________

ECE 2300 -- Quiz #2B

4:00PM section – February 14, 2002

Keep this quiz closed and face up until you are told to begin.

1.  This quiz is closed book, closed notes.  You may use one 8.5” x 11” crib sheet, or its equivalent.

2.  Show all work on these pages.  Show all work necessary to complete the problem.  If you go on to another page, indicate clearly where your work can be found.  A solution without the appropriate work shown will receive no credit.

3.  Show all units in solutions, intermediate results, and figures.  Units in the quiz will be included between square brackets.

4.  Do not use red ink.  Do not use red pencil.

5.  You will have 20 minutes to work on this quiz.

________________/20

Room for extra work

A situation occurs where a current needs to be measured.  The current is expected to be around 12[A].  An engineer finds two ammeters.  The first ammeter (Ammeter #1) has a full-scale reading of 5[A], and a meter resistance of 0.1[].  The second ammeter (Ammeter #2) has a full-scale reading of 10[A], and meter resistance of 0.2[].

a)  What will each meter read if they are placed in parallel, and used to measure a 12[A] current?

b)  Can these two ammeters be used in parallel to measure the 12[A] current, by adding the resulting readings on the two meters?

c)  What is the largest current this parallel combination of meters can read if used in this way?

ECE 2300 -- Quiz #2 – 4:00PM section – February 14, 2002 – Solution

A situation occurs where a current needs to be measured.  The current is expected to be around 12[A].  An engineer finds two ammeters.  The first ammeter (Ammeter #1) has a full-scale reading of 5[A], and a meter resistance of 0.1[].  The second ammeter (Ammeter #2) has a full-scale reading of 10[A], and meter resistance of 0.2[].

a)  What will each meter read if they are placed in parallel, and used to measure a 12[A] current?

b)  Can these two ammeters be used in parallel to measure the 12[A] current, by adding the resulting readings on the two meters?

c)  What is the largest current this parallel combination of meters can read if used in this way?

a) For part a), we solve this problem by replacing the ammeters with their equivalent resistances, and finding the currents that would result through each of the ammeters.  Let’s make these replacements, and we will get the following circuit.

Using this circuit, we can solve for i1 and for i2, using the current divider rule (CDR).  The CDR for i1 gives us

A similar CDR for i2 gives us

Now, the answer for Ammeter #2 is that it will read 4[A], since we are assuming that ammeters read the currents that go through them.

However, Ammeter #1 cannot read more than 5[A].  So, depending on the nature of the meter, it will either read 5[A], or indicate in some way that the reading is off the scale.

b) As was made clear in part a), for a current of this size the reading on Ammeter #1 would be unknown.  We cannot calculate iX by adding the values of the readings, since ammeter #1 does not read above 5[A].  So, the answer is no.

Just as an aside, if we know the meter resistances, we can use the CDR to get the unknown current from just the reading on Ammeter #2.  In this situation, we are using Ammeter #1 as a parallel resistance to extend the range of Ammeter #2.  However, this is not a good approach in general, since the current at which Ammeter #1 would be damaged may be exceeded.

c)  To get the maximum current that can be read by the parallel combination, we need to find which ammeter will read its maximum value first.  The key here is that this is set by the voltage across the two ammeters.  Each ammeter has a maximum value of voltage, which corresponds to its maximum current and its equivalent resistance, using Ohm’s Law.  The example we did in part a) should make it clear that in this situation Ammeter #1 reaches its limit first, that is, at the lower voltage.  Let’s find that voltage.

We have named this voltage vM in the diagram.  Using the maximum value of i1 as the current in Ammeter #1, we get

Using this value of vM, we can find the corresponding current in Ammeter #2, which will be

The answer, then, will be the sum of i1 and i2, and we have the result that the maximum current that can be read which is 7.5[A].

Just for the sake of anyone who is interested, we note that the maximum voltage for Ammeter #2 would be

It might also be interesting to note that the parallel combination here cannot measure as large a current as one of the ammeters taken by itself.  This kind of situation is one of the reasons why we discuss ammeters in this course.

Please note that the solution given here used more redrawing of the circuit, and more text, than would be expected in an exam solution.  This is done for the clarity of the solution.  On an exam, it would be expected that you would redraw the circuit about two or three times, so that someone (including you!) could follow your work.